## Slide 1
Prosthetic part

## Slide 2
Combi abutment/Dual abutment – Multi units
Abutment level impression Ⅰ

## Slide 3
Prosthetic part
Remove Cover screw

## Slide 4
Prosthetic part
Remove Healing abutment

## Slide 5
Prosthetic part
Select suitable Combi abutment, then tighten it to 25~30N.cm
[Re-tighten after 15 minutes]

## Slide 6
Prosthetic part
Connect Impression coping over the Abutment firmly
[Snap-on mechanism]

## Slide 7
Prosthetic part
Take Impression [closed tray]

## Slide 8
Prosthetic part
Take Impression [closed tray]

## Slide 9
Prosthetic part
Fabricate provisional restoration, or use Comfort cap

## Slide 10
Prosthetic part
Insert Lab analog into Impression coping
[Match flat side of both analog & coping]

## Slide 11
Prosthetic part
Fabricate soft tissue model

## Slide 12
Prosthetic part
Fabricate master cast

## Slide 13
Prosthetic part
PFM prosthesis:
Seat Burn-out cylinder securely
into Lab analog

## Slide 14
Prosthetic part
Wax-up

## Slide 15
Prosthetic part
Cut-back

## Slide 16
Prosthetic part
Metal framework

## Slide 17
Prosthetic part
Opaque

## Slide 18
Prosthetic part
Porcelain build-up

## Slide 19
Prosthetic part
Before delivery of final prosthesis

## Slide 20
Prosthetic part
Delivery of final prosthesis

## Slide 21
Prosthetic part
Zirconia prosthesis:
Scanning of Lab analogs and adjacent teeth on master cast

## Slide 22
Prosthetic part
Scanning of Lab analogs and adjacent teeth on master cast

## Slide 23
Prosthetic part
Wax-up
Cut-back

## Slide 24
Prosthetic part
Zirconia framework

## Slide 25
Prosthetic part
Porcelain build-up

## Slide 26
Prosthetic part
Before delivery of final prosthesis

## Slide 27
Prosthetic part
Delivery of final prosthesis

## Slide 28
Screw abutment – PFM/PFG multi units
Abutment level impression Ⅱ

## Slide 29
Prosthetic part
Screw abutment with delivery holder

## Slide 30
Prosthetic part
Select and seat appropriate
Screw abutment with delivery holder

## Slide 31
Prosthetic part
After insertion, tighten it with
Ratchet adapter
[Tighten it to 25~30N.cm then
Re-tighten after 15minutes]

## Slide 32
Prosthetic part
Seat Impression coping on Screw abutment

## Slide 33
Prosthetic part
Take impression (closed tray)

## Slide 34
Prosthetic part
Seat comfort cap on the Screw abutment

## Slide 35
Prosthetic part
Remove the impression coping from oral cavity
and connect it with analog firmly

## Slide 36
Prosthetic part
Insert the connected Impression coping
and Analog into the impression

## Slide 37
Prosthetic part
Fabricate soft tissue model

## Slide 38
Prosthetic part
Fabricate master cast

## Slide 39
Prosthetic part
Seat the Gold-cylinder on the Screw
abutment Analog
[Tighten it to 10N.cm with
Ti-Retaining screw]

## Slide 40
Prosthetic part
Consider the distance of opposing teeth,
modify cylinder to its proper height if needed

## Slide 41
Prosthetic part
Wax-up

## Slide 42
Prosthetic part
Cut-back

## Slide 43
Prosthetic part
Completed gold framework

## Slide 44
Prosthetic part
Opaque

## Slide 45
Prosthetic part
Porcelain build-up

## Slide 46
Prosthetic part
Final prosthesis
[Tighten it to 10N.cm with Ti-Retaining screw]

## Slide 47
Prosthetic part
Delivery of final prosthesis

## Slide 48
Dual abutment/Dual-milling abutment
Transfer type
Fixture level impression Ⅰ

## Slide 49
Prosthetic part
Remove Cover screw

## Slide 50
Prosthetic part
Remove Healing abutment

## Slide 51
Prosthetic part
Insert Impression coping (transfer type) into Fixture

## Slide 52
Prosthetic part
Take Impression [closed tray]

## Slide 53
Prosthetic part
Insert Lab analog into Impression coping
[Match flat side of both analog & coping]

## Slide 54
Prosthetic part
Fabricate soft tissue model

## Slide 55
Prosthetic part
Fabricate master cast

## Slide 56
Prosthetic part
Select abutment with proper diameter and gingival height

## Slide 57
Prosthetic part
Fabricate positioning jig

## Slide 58
Prosthetic part
Scanning of Lab analogs and adjacent teeth on master cast

## Slide 59
Prosthetic part
Wax-up
Cut-back

## Slide 60
Prosthetic part
Zirconia framework

## Slide 61
Prosthetic part
Porcelain build-up

## Slide 62
Prosthetic part
Abutment tightening with positioning jig
[Tighten it to 25~30N.cm and Re-tighten after 15 minutes]

## Slide 63
Prosthetic part
Delivery of final prosthesis

## Slide 64
Dual abutment/Dual-milling abutment
Pick-up type
Fixture level impression Ⅱ

## Slide 65
Prosthetic part
Remove Cover screw

## Slide 66
Prosthetic part
Remove Healing abutment

## Slide 67
Prosthetic part
Insert Impression coping (pick-up)
into Fixture

## Slide 68
Prosthetic part
Take impression [open tray]

## Slide 69
Prosthetic part
Unscrew Impression coping screw
before removing the impression tray

## Slide 70
Prosthetic part
Fabricate soft tissue model

## Slide 71
Prosthetic part
Fabricate master cast

## Slide 72
Prosthetic part
Select abutment with proper diameter and gingival height

## Slide 73
Prosthetic part
Fabricate positioning jig

## Slide 74
Prosthetic part
Scanning of Lab analogs and adjacent teeth on master cast

## Slide 75
Prosthetic part
Wax-up
Cut-back

## Slide 76
Prosthetic part
Zirconia framework

## Slide 77
Prosthetic part
Porcelain build-up

## Slide 78
Prosthetic part
Abutment tightening with positioning jig
[Tighten it to 25~30N.cm and Re-tighten after 15 minutes]
Delivery of final prosthesis

## Slide 79: Fixture level impression Ⅲ
Angled abutment
Transfer type

## Slide 80
Prosthetic part
Remove Healing abutment

## Slide 81
Prosthetic part
Connect Impression coping

## Slide 82
Prosthetic part
Connect Impression coping

## Slide 83
Prosthetic part
Take impression [closed tray]

## Slide 84
Prosthetic part
Fabricate master cast

## Slide 85
Prosthetic part
Select proper Angled abutment

## Slide 86
Prosthetic part
Fabricate positioning jig

## Slide 87
Prosthetic part
Wax-up

## Slide 88
Prosthetic part
Cut back

## Slide 89
Prosthetic part
Completed Metal framework

## Slide 90
Prosthetic part
Opaque

## Slide 91
Prosthetic part
Porcelain build-up

## Slide 92
Prosthetic part
Abutment tightening with positioning jig
[Tighten it to 25~30N.cm and Re-tighten after 15 minutes]

## Slide 93
Prosthetic part
Delivery of final prosthesis